## Slide 1: District Surface Water Use, Deep Well Production and SGMA Update
Eric Thorburn, P.E.
District Engineer/ Water Resources Manager
July 7, 2026

## Slide 2
Year | *Surface Water Diversions | October Surface Water Diversions | District Groundwater Pumping | Out of District Water Use
2024 | 234,924 | 21,859 | 1,309 | 7,872
2025 | 235,595 | 9,858 | 1,323 | 12,194
Avg. 2016-25 | 224,591 | 16, 778 | 2,013 | 5,229
Avg. 2021-25 | 239,802 | 16,771 | 1,612 | 6,518
OID SURFACE WATER USE AND DEEP WELL PRODUCTION SUMMARY
*Calendar year surface water diversions.

## Slide 3
Chart: OID Surface Water Diversions by Year (15-Yr)
| Total
2011 | 217574
2012 | 231645
2013 | 244582
2014 | 200282
2015 | 164118
2016 | 192309
2017 | 201554
2018 | 206969
2019 | 208177
2020 | 237896
2021 | 251838.7413
2022 | 263351

## Slide 4
Chart: OID Surface Water Diversions by Month (15-Yr)
| MAR | APR | MAY | JUNE | JULY | AUG | SEPT | OCT
2011 | 155 | 18786 | 34062 | 32290 | 45139 | 45298 | 34126 | 7718
2012 | 10851 | 15175 | 34145 | 37851 | 46311 | 45000 | 32246 | 10066
2013 | 21014 | 25814 | 34556 | 36771 | 45885 | 41413 | 29860 | 9269
2014 | 10664 | 17161 | 32299 | 33834 | 38943 | 36396 | 22872 | 8113
2015 | 9321 | 11859 | 22771 | 29701 | 35211 | 30380 | 20507 | 4368
2016 | 2026 | 12857 | 28180 | 34462 | 40129 | 35274 | 26400 | 12981
2017 | 834 | 6228 | 31168 | 36060 | 43795 | 39641 | 28683 | 15145
2018 | 3430 | 9945 | 32846 | 37012 | 42816 | 37851 | 27288 | 15781
2019 | 1318 | 15208 | 21355 | 36752 | 43527 | 40252 | 28824 | 20941
2020 | 10265 | 15210 | 35145 | 40630 | 47348 | 41510 | 28711 | 19077
2021 | 9531.7585 | 28587.3219 | 38101.9961 | 42626.9993 | 48068.825 | 40033.0417 | 28984.7988 | 15904
2022 | 19823 | 28848 | 36366 | 41573 | 45602 | 41828 | 28530 | 20781

## Slide 5
Chart: OID Crop Progression (15-Yr)
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Pasture | 31247.62 | 30449.55 | 29926.57 | 30362.74 | 29188.33 | 26376.04 | 24668.33 | 22617.43 | 22119.46 | 21738.37 | 20621.43 | 20170.03 | 19638.35 | 19256.89 | 19265.35
Oats and Corn | 8488.46 | 8361.52 | 8598.87 | 8598.89 | 8759.68 | 9214.03 | 9263.71 | 7613.02 | 7485.22 | 7337.09 | 6851.31 | 6724.54 | 6461.32 | 6326.68 | 6343.77
Almonds | 8238.85 | 10698 | 10149.67 | 17383.66 | 18921.88 | 24671.37 | 26322.36 | 31863.61 | 31077.07 | 31524.95 | 33192.98 | 34106.77 | 33979.65 | 34610.01 | 34484.35
Walnuts | 3173.86 | 3174.13 | 3553.37 | 3578.71 | 3705.27 | 5011.56 | 5291.64 | 5317.15 | 5549.97 | 5707.32 | 5669.17 | 5683.15 | 5597.55 | 5588.67 | 5538.36
Rice | 2882.25 | 2799.71 | 2774.65 | 2763.64 | 2763.64 | 1419.7 | 781.31 | 378.47 | 378.47 | 361.51 | 294.42 | 346.82 | 315.32 | 315.32 | 260.35
Other | 1224.58 | 1134.58 | 1224.58 | 1104.58 | 1104.58 | 1117.28 | 1117.28 | 574.43 | 1155.81 | 1207.04 | 1287.71 | 1288.74 | 1224.19 | 1336.01 | 1224.19
Idle | 1812.53 | 828.22 | 893.74 | 932.28 | 913.78 | 1024.45 | 1652.2 | 1518.52 | 2124.29 | 2292.21 | 2385.32 | 1950.26 | 3043.04 | 2810.46 | 3126.94
Total | 57068.15 | 57445.71 | 57121.45 | 64724.5 | 65357.16 | 68834.43 | 69096.83 | 69882.63 | 69890.29 | 70168.49 | 70302.34 | 70270.31 | 70259.42 | 70244.04 | 70243.31

## Slide 6
Chart: OID GW Pumping (15-Yr)
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Jan - Feb | 0 | 519.5 | 76.8 | 1359.8 | 22.7 | 6.4 | 0 | 513.2687 | 44 | 128.6 | 12.1 | 453.6 | 50.7 | 13.7 | 0
March -Oct | 2244.2 | 6044.3 | 9951.7 | 16858.6 | 12566.9 | 3565.2 | 2450.8975 | 2360.7787 | 1642.4 | 1345.6 | 2475.5 | 1125.1 | 1309.7 | 1294.9 | 1322.5
Nov - Dec | 66.3 | 70.5 | 83.8 | 79.8 | 0 | 5.7 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0
2,488
1,579
1,331
18,298
12,590
3,577
2,451
2,874
1,686
1,482
1,309
1,323
10,112
6,634
2,311

## Slide 7
Chart: Local Out of District Water Deliveries
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Delivered (AF) | 1908 | 2576 | 2662 | 3810 | 4686.1 | 5969.22 | 4673 | 1883 | 5966 | 7872 | 12194.1
Irrigated (Ac) | 872.6 | 1455.55 | 1824.51 | 3120 | 4595.3 | 5489.36 | 4881 | 3373 | 5570 | 9172.9 | 9153.82
2.2 AF/Ac
1.0 AF/Ac
1.2 AF/Ac
1.1 AF/Ac
1.8 AF/Ac
1.5 AF/Ac
1.0 AF/Ac
0.6 AF/Ac
1.1 AF/Ac
0.9 AF/Ac

## Slide 8
Chart: OID DW & CASGEM Sites - ESJ Subbasin
| 38476 | 38657 | 38838 | 39024 | 39206 | 39402 | 39574 | 39769 | 39941 | 40133 | 40302 | 40490 | 40668 | 40850 | 41031 | 41214 | 41397 | 41583 | 41723 | 41933 | 42065 | 42296 | 42432 | 42681 | 42808 | 43038 | 43157 | 43405 | 43542 | 43766 | 43879 | 44133 | 44264 | 44497 | 44620 | 44866 | 44985 | 45244 | 45356 | 45600 | 45720 | 45966 | 46084
BURNETT | 91.1 | 94.2 | 90.33 | 91.8 | 91.5 | 94.33 | 95.42 | 96.16 | 96.42 | 97.5 | 94.33 | 94.58 | 96 | 95.5 | 97.5 | 97.66 | 101.35 | 98.42 | 106.5 | 101.5 | 109.25 | 104.75 | 108.67 | 105.5 | 109.16 | 108.77 | 110.25 | 106 | 109.92 | 107.5 | 111.5 | 108.17 | 110.67 | 110.58 | 114.25 | 113.3 | 115.25 | 113.83 | 115.75 | 110.85 | 116.5 | 115.75
CAMPBELL | 72.1 | 72.7 | 71.6 | 72.25 | 72 | 72.1 | 75 | 76.16 | 77.25 | 78.1 | 76.75 | 77.42 | 76.42 | 77 | 76.75 | 77.5 | 79.5 | 81.25 | 83.92 | 87.5 | 84.58 | 91.08 | 87.42 | 90.42 | 87.67 | 92.42 | 88.17 | 92 | 89 | 92.08 | 90.5 | 93.75 | 91.17 | 95 | 94.5 | 98.5 | 96.7 | 97.58 | 95.5 | 97 | 94.25 | 98.5 | 97
HIRSCHFELD | 80.8 | 83.1 | 79.75 | 81.67 | 78.5 | 82.33 | 85.75 | 86.66 | 85.75 | 86.66 | 83.75 | 86.33 | 82.83 | 86.8 | 83.92 | 87.33 | 88 | 91.7 | 90.75 | 86.92 | 83.75 | 100.5 | 96.83 | 100.42 | 98.08 | 101.25 | 100.25 | 102.42 | 100 | 103 | 101 | 105 | 102.67 | 106.33 | 105.5 | 110.25 | 108.2 | 110 | 107.25 | 109 | 105.5 | 116 | 108.75
HOWARD | 71 | 70.2 | 71.33 | 69.8 | 71 | 70.58 | 72.33 | 71.66 | 72.5 | 72.5 | 73.92 | 72.67 | 73.66 | 71 | 73.08 | 72.08 | 74.5 | 73.2 | 75.33 | 78.58 | 78.75 | 82.33 | 82.33 | 83.67 | 83.25 | 82.42 | 81.5 | 83.75 | 82.5 | 83.84 | 83.25 | 85 | 84.5 | 86.25 | 85.75
VALLEY HOME | 72.2 | 73.5 | 72 | 73 | 71.67 | 74.2 | 75.5 | 76.5 | 77.5 | 78.5 | 76.83 | 79 | 77.25 | 77.4 | 76.42 | 79 | 79.33 | 82.35 | 87.58 | 86.5 | 85.42 | 91.75 | 91 | 91.67 | 89.75 | 92.75 | 92 | 93.16 | 91 | 94.42 | 93 | 96 | 95.33 | 98 | 97.5 | 100.83 | 100.6 | 101.25 | 100 | 95.83 | 98.4 | 101.75 | 101
WEIMER | 89.2 | 89.4 | 88.75 | 86.33 | 86.41 | 87.17 | 88.5 | 90.58 | 93.58 | 92.75 | 94.17 | 96 | 95 | 96.25 | 93.75 | 97.83 | 98 | 102.75 | 100.42 | 108.67 | 106.5 | 113.58 | 110.17 | 115.33 | 113.67 | 115.58 | 114 | 116.75 | 113.58 | 116.5 | 115 | 118.5 | 116.5 | 121 | 118 | 124 | 123 | 125 | 122.25 | 123.5 | 120.3 | 125.3 | 124.25
WYATT | 79.3 | 80.2 | 79.75 | 80.8 | 84.33 | 79.17 | 80.33 | 81.25 | 87.58 | 83.66 | 81.42 | 82.5 | 79.92 | 82.35 | 81.08 | 82.75 | 82.5 | 86.1 | 86.25 | 93 | 90.75 | 95.5 | 92.92 | 97.25 | 93.58 | 97.42 | 105 | 103 | 100 | 104.25 | 99.75
FAIRBANKS | 100 | 105 | 105.25 | 109.25 | 109 | 109.25 | 108 | 109 | 106.8 | 110.4 | 109.5
81.0’
Overall: -1.4’/yr
May 2012
84.3’ (-0.5’/yr)
110.7’ (-1.2’/yr)
March 2016
98.8’ (-3.6’/yr)

## Slide 9
Chart: OID DW & CASGEM Sites - Modesto Subbasin
| 38476 | 38657 | 38838 | 39024 | 39206 | 39402 | 39574 | 39769 | 39941 | 40133 | 40302 | 40490 | 40668 | 40850 | 41031 | 41214 | 41397 | 41583 | 41723 | 41933 | 42065 | 42296 | 42432 | 42681 | 42808 | 43038 | 43157 | 43405 | 43542 | 43766 | 43879 | 44133 | 44264 | 44497 | 44620 | 44866 | 44985 | 45244 | 45356 | 45600 | 45720 | 45966 | 46084
ALBERS 1 | 56.1 | 54 | 56 | 55.1 | 57.67 | 56 | 58.9 | 58.16 | 57.25 | 59.75 | 61.33 | 61 | 62.08 | 60.66 | 62.08 | 62 | 63 | 62.9 | 64.58 | 67.83 | 68.58 | 72.08 | 73.25 | 73.92 | 75.08 | 73.92 | 74 | 74.92 | 75.25 | 75.75 | 75.92 | 76.5 | 77.75 | 80.16 | 80
ALLEN | 55.5 | 58.8 | 56.75 | 57.33 | 57.16 | 65.25 | 59.9 | 56.1 | 62 | 57.5 | 66.33 | 58.42 | 62.42 | 58.3 | 63.42 | 61.75 | 67.58 | 63.15 | 63.1 | 67.25 | 62.83 | 70.67 | 66 | 68.75 | 66.67 | 69.5 | 72.92 | 71 | 66.17 | 71.58 | 67.5 | 73.75 | 68.92 | 72 | 71.75 | 77 | 71 | 72.83 | 69.75 | 72.65 | 69.33 | 74 | 71.5
BENTLEY | 72 | 76.8 | 74 | 78.5 | 76.16 | 77.25 | 83.33 | 79.25 | 82.42 | 83.58 | 81.83 | 82.25 | 84.08 | 83 | 82.25 | 83.92 | 84.58 | 86.2 | 92.66 | 91.25 | 87.58 | 95.17 | 91.75 | 94.33 | 92.83 | 94.25 | 100.42 | 98.25 | 93 | 97.5 | 94.75 | 101.25 | 97 | 102 | 101.75 | 105.58 | 102 | 102.5 | 100 | 101.4 | 98 | 102.25 | 100
BIRNBAUM | 50.1 | 57.8 | 54.75 | 58.75 | 57.16 | 56.58 | 60.25 | 58 | 59 | 57.75 | 58.67 | 64.5 | 60.7 | 61.75 | 63.75 | 63.58 | 67.65 | 77.33 | 69.67 | 64.08 | 75.42 | 69.58 | 71.83 | 67.33 | 70.6 | 75 | 74.58 | 67.75 | 75.5 | 70.67 | 78.25 | 72.92 | 77.25 | 75.25 | 83 | 75.58 | 78.25 | 74.17 | 79.25 | 73.75 | 79.4 | 76
COLEMAN #2 | 91 | 92.8 | 89.5 | 94.33 | 92.16 | 92.33 | 93.75 | 94 | 97.16 | 97.5 | 97 | 96.67 | 97.08 | 98.85 | 96.42 | 102 | 99.92 | 103.1 | 100.42 | 107.67 | 104.16 | 113.17 | 109.5 | 111.58 | 109.33 | 113 | 110.5 | 116.16 | 110.5 | 116.17 | 114.08 | 120.25 | 115.67 | 121.83 | 119.16 | 124.5 | 121 | 122.33 | 120 | 121.9 | 118 | 122.9 | 121
CRANE | 74.1 | 75.8 | 72.1 | 75 | 75.91 | 74.42 | 78.33 | 76.5 | 80.75 | 78.16 | 79.67 | 79.1 | 80.16 | 78.75 | 80.16 | 80.25 | 82.5 | 82.5 | 87.66 | 87.25 | 82.42 | 90.42 | 87.08 | 89 | 86.25 | 88.5 | 86.08 | 90.75 | 85.58 | 91.42 | 87.75 | 94 | 89.5 | 93.83 | 95.5 | 95.25 | 93.17 | 93.5 | 90.83 | 93.1 | 89.25 | 94 | 92
MARQUIS | 43.3 | 42 | 43.15 | 41.67 | 42.58 | 41.67 | 43.67 | 44.5 | 46.33 | 44.5 | 47 | 44.42 | 45.5 | 43.3 | 46.33 | 45.25 | 47.25 | 44.85 | 48 | 47.17 | 49.17 | 52.58 | 53.5 | 51.33 | 51.83 | 48.58 | 51 | 49.5 | 51.33 | 51 | 52.5 | 53 | 53.5 | 52.83 | 53.25 | 53.25 | 53.4 | 52 | 53 | 49.75 | 52.5 | 54.25 | 55
RIVERBANK | 69.2 | 72.8 | 71.25 | 76.8 | 72.75 | 72.1 | 75.67 | 77 | 78.75 | 77.1 | 75.83 | 76.75 | 76.66 | 75.6 | 75.33 | 78.25 | 82.16 | 81.65 | 80.66 | 86 | 84.75 | 91.92 | 86.83 | 90 | 84.42 | 87.16 | 87.83 | 87.58 | 81 | 87 | 86.33 | 90.25 | 86.5 | 92 | 88.5 | 95 | 88 | 90.25 | 87 | 88.75 | 85.5 | 89.5 | 88.5
TENNANT | 86.58 | 82.75 | 90.58 | 87.58 | 89.17 | 86.75 | 88.5 | 87.17 | 92.08 | 86.5 | 91.5 | 88.5 | 95.5 | 90.75 | 96.5 | 97.16 | 97 | 99.17 | 95.41 | 93.25 | 94.5 | 91.3 | 95 | 93.25
67.2’
Overall: -1.0’/yr
May 2012
71.4’ (-0.6’/yr)
88.0’ (-0.65’/yr)
81.5’ (-2.5’/yr)
March 2016

## Slide 10
Chart: OID DW & CASGEM Sites - Eastside
| 38476 | 38657 | 38838 | 39024 | 39206 | 39402 | 39574 | 39769 | 39941 | 40133 | 40302 | 40490 | 40668 | 40850 | 41031 | 41214 | 41397 | 41583 | 41723 | 41933 | 42065 | 42296 | 42432 | 42681 | 42808 | 43038 | 43157 | 43405 | 43542 | 43766 | 43879 | 44133 | 44264 | 44497 | 44620 | 44866 | 44985 | 45244 | 45356 | 45600 | 45720 | 45966 | 46084
BECKLEY | 117.5 | 114.3 | 117 | 115.1 | 116 | 113.67 | 115.5 | 113.5 | 115.75 | 114.5 | 116.25 | 114.67 | 116.66 | 115.15 | 117 | 116.33 | 118.66 | 118 | 119.83 | 122.33 | 124 | 126 | 127.83 | 128.83 | 129.83 | 129.25 | 132.58 | 132.58 | 134.83 | 135.5 | 136.25 | 139 | 139.16 | 141.42 | 141.5 | 143 | 144 | 144.5 | 145 | 143.25 | 142.9 | 147 | 147.25
PAULSELL 1 | 52.5 | 52.4 | 52.5 | 52.4 | 52.33 | 53.33 | 55.5 | 56.91 | 57.25 | 59.16 | 62 | 61 | 60.75 | 63.2 | 63.67 | 66.33 | 68.66 | 74.2 | 88.58 | 84.58 | 80.05 | 80.08 | 87.08 | 93.58 | 92.83 | 98.5 | 99.25 | 103.33 | 101.17 | 106 | 105 | 109.6 | 109 | 114 | 113.5 | 118.25 | 120.67 | 123.75 | 122.75 | 124.25 | 122.5 | 126 | 124.75
PAULSELL 2 | 43.6 | 43.5 | 44 | 45.8 | 45 | 46.58 | 47.67 | 48.5 | 50.58 | 53.33 | 50.67 | 52.17 | 50.08 | 53.55 | 54.5 | 57.66 | 60.92 | 64.85 | 67.33 | 75 | 73 | 82.25 | 81 | 87.25 | 85.92 | 90.75 | 91.5 | 94.83 | 93.5 | 98.41 | 97.5 | 101.25 | 102.16 | 105.25 | 105.25 | 108.75 | 112.5 | 115 | 114.25 | 116.1 | 115 | 119 | 117.25
RITTS | 108.1 | 111.9 | 107.5 | 111.75 | 108.83 | 112.25 | 111.33 | 116 | 115 | 116.75 | 115.17 | 116.67 | 113.75 | 116 | 115.08 | 118.83 | 115.5 | 121.55 | 120.5 | 127.25 | 122.5 | 129.58 | 126.5 | 130.5 | 126.33 | 131.16 | 129.5 | 133.5 | 129.67 | 134 | 131.83 | 136 | 133.67 | 138 | 136.08 | 139.6 | 140 | 141.16 | 139.25 | 141 | 138 | 143 | 140.75
FURTADO | 116.08 | 122.25 | 120.42 | 124.95 | 124.42 | 129.42 | 126.33 | 134.42 | 131.25 | 137.92 | 133 | 138 | 138.75 | 140.42 | 135 | 140.17 | 137.91 | 143.25 | 139 | 144 | 144 | 146.25 | 146.17 | 148.08 | 145.67 | 148.5 | 144.25 | 150 | 147
N. MAIN #1 | 117.7 | 117 | 122 | 119.75 | 125.25 | 122.5 | 125.25 | 123.83 | 129.5 | 128.25 | 128.08 | 125.58 | 129.58 | 127.83 | 131.75 | 129.67 | 133.25 | 133.17 | 138.83 | 135.3 | 138.25 | 135.5 | 137.5 | 134.5 | 139.8 | 136.5
Warnerville Near Paulsell Lat | 164 | 172.25 | 169.83 | 176 | 177 | 179.5 | 177.83 | 179.5 | 176.75 | 182 | 179
Warnerville East of Tim Bell Rd | 213.67 | 218 | 216.92 | 215.25 | 225.17 | 228 | 225 | 227 | 224 | 226.3 | 225.75
Warnerville Near Emery Rd | 175.5 | 192.5 | 188.83 | 199 | 195 | 199 | 195.5 | 198.6 | 195 | 201.75 | 198.25
202.4’ (-2.7’/yr)
188.9’
May 2012
48.0’
Overall: -1.4’/yr
115.6’ (-0.4’/yr)
141.8’ (-1.5’/yr)
126.9’ (-2.8’/yr)
112.8’
Overall: -3.5’/yr
59.1’ (-1.6’/yr)
121.0’ (-4.3’/yr)
84.1’ (-6.3’/yr)
March 2016

## Slide 11
Sustainable GW Management Act (SGMA) Update
  GSP submitted Jan. 2020 (revised July 2022)
    Approved March 2023
  5-year Periodic Eval and Amended GSP submitted Jan. 2025
    DWR Request for Information Rec’d April 2026
      Response Due to DWR by October 1, 2026
    Impact Analysis & Well Mitigation Plan
    Commitment to Management Actions (Demand Reduction)
      GSA Allocations by Dec 2026
      DM Program Developed by GSAs by Dec 2027
      DM Implementation by GSAs by Dec 2028 (Where Needed)
  2025 WY Annual Report (7th) - Submitted by April 1st
    Continued water level decline in parts of the subbasin
  Projects
    OID 10-Yr OOD Water Sale Program – 4th Year (2026)
    10-year OID & SSJID transfer to SEWD
      Up to 20k AF in dry years, 10k AF in critically dry years (20k AF Anticipated to be Delivered in 2026)
Eastern San Joaquin GW Subbasin
16 GSAs (707k ac) - north of the Stanislaus River

## Slide 16
Sustainable GW Management Act (SGMA) Update
  GSP submitted Jan. 2022 (revised July 2024)
    Approved March 2023
      Impact Analysis & Well Mitigation Plan Req’d
      Management Action Framework/Plan Req’d
  5-year Periodic Eval and Amended GSP due Jan. 2027
    Well Mitigation Plan Adopted Jan. 2026
    Groundwater Use Management Program Adopted Jan. 2026
        Management Action Plan to Meet Demand Reduction in the NDE due From Stan. Co by Nov. 2026
          Implementation of Demand Reduction in NDE Starting Jan. 2027
  2025 WY Annual Report (5th) - Submitted by April 1st
    Continued water level decline primarily in NDE
  Projects
    OID 10-Yr OOD Water Sale Program – 4th Year
    $14.4M SGM Implementation Grant – OID Paulsell Lat. Expansion (Phase 1 Constructed 2025 & 2026)
Modesto GW Subbasin
1 GSA (250k ac) - south of the Stanislaus River